**EP33-13 Checklist for Telemetry Visitor** NAME \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

DATE\_\_\_\_\_\_\_\_\_\_\_\_\_ TELE TECH\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

TROUBLESHOOTING

\_\_\_\_\_\_Lead placement

\_\_\_\_\_\_ Stickers (skin prep/alcohol wipe)

\_\_\_\_\_\_ Misalignment of leads

\_\_\_\_\_\_ Pulse OX not reading (try different finger or clean probe with alcohol wipe, light inside probe on top of finger)

CALL TELEMETRY WHEN

\_\_\_\_\_\_hooking up after being off for tests.

\_\_\_\_\_\_new patient arrives to floor call ASAP to verify box number and birthdate.

\_\_\_\_\_\_removing telemetry for test.

\_\_\_\_\_\_relocating patient to a different room.

ORDERING BOXES/DISCONTINUING BOXES

\_\_\_\_\_\_ PH: Ordering call tele with information, then call transport for pickup. Discharged boxes set at front desk ASAP, tele will call transport to pick up.

\_\_\_\_\_\_SFMC: Fax order to #12013 and tele will tube box to your location. When discharged tube box to station #124.

FYI

\_\_\_\_\_\_When the battery change notification comes on signal will last approx. 30 minutes.

\_\_\_\_\_\_When leaving floor pass your phone to whomever is watching your patients.

\_\_\_\_\_\_How we determine accuracy of the readings on our monitors.

REVIEW

\_\_\_\_\_\_Telemetry flowchart

\_\_\_\_\_\_Rhythm poster